WATER TEST RESULTS - VARIOUS SOURCES	
Updated 5/18/20	

TESTING FOR	Coral Springs Improvement District	
City of Coral Springs	Publix Bottled "Spring Water"	Zephyrhills Bottled Spring Water	
Dasani Bottled Water	
FIJI Bottled Water	Suggested Municipal
Range	

pH	8.10	9.00	6.95	7.58	5.95	7.4	
(6.5-8.5)	
Total Alkalinity	25	50	20	172	6	142	
(20-60 ppm)	
Total Hardness	40	70	22	188	18	120	
(20-60 ppm)	

Turbidity	0.06	0.07	0	0	0	0	
( < 0.3 NTU)	

Color	5.0	8.0	0.0	0.0	10.0	0.0	
(< 15 ppm)	
Total Chlorine Residual
(disinfection)	2.9	2.1	0.1	0.01	0	0.1	
(1.0-4.0 ppm)	
Iron Content	0.01	0.01	0.01	0.01	0.04	0.27	
( < 0.3 ppm)	

Fluoride	0.74	0.52	0.15	0.04	0.06	0.15	
(0.6-0.8 ppm)